# Assessment Requirements for NWPNET040 Maintain and repair network assets for wastewater

Release: 2

Assessment Requirements for NWPNET040 Maintain and repair network assets for wastewater

# Modification History

Release 2. Alteration to PE item 9, removal of PE item 12 and alteration to KE point 15. Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

assisting with planning worksite including personnel, equipment and materials checking permits, approvals, other utilities diagrams and maps with relevant personnel communicating with appropriate personnel and customers conducting risk assessment on worksite for safety and environmental factors determining location, size, utilities, services from plans, specifications and workplace procedures identifying and responding to operational problems including main, connection chokes, pump stations and faults interpreting plans, instructions and procedures maintaining and repairing assets by: maintaining pump stations repairing access chambers undertaking excavation maintaining, repairing and replacing wastewater infrastructure including at least 5 of the following: clearing blockages controlling flows in gravity networks installing connections installing pipes and fittings jet cleaning jet foaming locating and repairing chokes making joints measuring and cutting pipes repairing valves selecting and placing bedding and backfill material undertaking closed-circuit television (CCTV) inspection undertaking excavation performing work-related calculations preserving personal safety selecting and applying appropriate PPE using tools and equipment for work in wastewater

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

causes of blockages including: foreign objects pipe displacements roots intrusion characteristics of pipes and fittings concrete placement techniques including compaction control system procedures effects of weather and conditions on construction site or plant environmental, health aspects and impacts equipment operation, capacity and limitations excavation techniques and requirements formwork preparation and positioning ground support systems infiltration of foreign matter into the wastewater system landscape and ground structure of work area lockout procedures pipe systems and installation requirements relevant legislation, regulations, policies and procedures relevant utilities and service bodies to identify allocation of road reserve risk factors and potential hazards of maintenance processes safety data sheets system hydraulics testing and sampling systems work drawings, plans, specifications and instructions

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037