# Assessment Requirements for NWPNET042 Monitor and operate wastewater collection and transfer systems

Release: 1

Assessment Requirements for NWPNET042 Monitor and operate wastewater collection and transfer systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

responding to and correcting operational problems

interpreting plans, charts, service search diagrams, instructions, policies and specifications

controlling system operations

identifying control system faults

monitoring and coordinating the operation of wastewater collection and/or wastewater transfer systems

preparing equipment for monitoring and inspections

monitoring the system and collecting, analysing and reporting data according to organisational procedures

reviewing samples and records

adjusting flow regulating systems

monitoring volumes and flows

controlling, integrating and optimising processes

identifying and reporting process faults

measuring wastewater flows

completing relevant workplace documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

system hydraulics

coordination and control of processes

system layout and processes

environmental aspects of wastewater collection and transfer systems

infiltration and inflow sources

illegal inflows

discharges

disinfection and chemical use

policies, standard operating procedures and legislation

relevant utilities and service bodies

communication systems

risk factors and potential hazards involved with wastewater pressures and flows

equipment operation, capacity and limitations

effects of weather and conditions on operation of collection and transfer systems

pipes and fittings

gravity systems

pumping and valving systems

control systems

forces including gravitational, valve operation, hydraulic and pumps

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037