# Assessment Requirements for NWPNET043 Monitor and operate bulkwater transfer systems

Release: 1

Assessment Requirements for NWPNET043 Monitor and operate bulkwater transfer systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

operating bulkwater systems

identifying and responding to operational problems

collecting data

producing reports and logs

using safety and personal protective equipment

using tools and machinery

following plans, charts, specifications and instructions

performing work-related calculations

applying procedures and standards

using communication equipment

identifying system faults

identifying hazards

monitoring and operating bulkwater transfer systems

planning and preparing for work

monitoring transfer system performance

collecting and recording data

regulating water flow

regulating water pressure

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

system hydraulics basics

system layout

environmental aspects of operation

lock-out procedures for mechanical and electrical installations

relevant utilities and service bodies

communication systems

hazardous materials handling

landscape and ground structure of work area

risk factors and potential hazards of operating water transfer systems

equipment operation, capacity and limitations

effects of weather and conditions on systems, site or plant

use and characteristics of:

pumps

weirs

valves

flow meters

run time meters

diurnal variations

wet and dry pump wells

illegal connections

control systems

disinfection of systems and chemical usage

forces including gravitational, valve operation, hydraulic and pumps

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037