# Assessment Requirements for NWPNET044 Test and commission water distribution systems

Release: 1

Assessment Requirements for NWPNET044 Test and commission water distribution systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed using  one or more cleaning techniques listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

interpreting and applying a range of technical documents

conducting test procedures

monitoring work processes and ensuring safe work practices

testing pipes

identifying system faults

testing and commissioning water distribution systems

planning the testing of water distribution systems

identifying and analysing system requirements

identifying and addressing hazards

using suitable protective equipment

maintaining the quality of water in the system

commissioning the distribution system

restoring worksite and equipment

completing required reports and records

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

general WHS on work sites

the risk factors and potential hazards of test procedures

water hygiene and system disinfection requirements

equipment operation

environmental aspects of test procedures

characteristics of pipes, materials and fittings

an overview of the water distribution system and water industry operations

relevant definitions, terminology, symbols and language

testing methods used for water distribution systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037