# NWPNET044 Test and commission water distribution systems

Release: 1

NWPNET044 Test and commission water distribution systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP309B Test and commission water distribution systems. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice One new PC added to Element 5 PC 3.1 removed PC 3.2 and 3.3 5.1 & 5.2 merged |

# Application

This unit of competency describes the skills required to plan and implement the testing and commissioning of water distribution systems. The ability to interpret technical information, identify and assess hazards and perform technical testing procedures is essential to performance.

This unit applies to those working as field staff and operators with specific responsibility for commissioning water distribution systems, post-installation or repair, and for ensuring that the functioning of the system complies with relevant specifications and organisational requirements.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS.

Those undertaking this unit would work under indirect supervision, while performing routine tasks, in a familiar context, ensuring minimum damage to the environment.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Networks

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare for testing and commissioning | 1.1 Check plans to locate features and the section to be tested. 1.2 Identify and interpret the system operation requirements. 1.3 Check and schedule vacuum testing and commissioning tasks. 1.4 Identify and assess potential hazards and take required preventative measures. 1.5 Select and use tools and equipment. 1.6 Check testing equipment for accuracy and identify and correct malfunctions. |
| 2. Maintain water system hygiene | 2.1 Arrange disinfection. 2.2 Clean the relevant section of the distribution system. 2.3 Dispose of flushing. |
| 3. Test the pipeline system | 3.1 Test equipment by determining the correct test pressure for the pipeline and by fitting gauges of the correct range. 3.2 Locate and report failed pipes, joints and fittings and reschedule testing. 3.3 Vacuum test concrete access chambers. |
| 4. Commission the distribution system | 4.1 Ensure the distribution system is operational. 4.2 Check, maintain and store equipment, tools and materials. 4.3 Restore the work site. |
| 5. Record and report results | 5.1 Maintain workplace and calibration records and certificates. 5.2 Collect and store all testing and compliance results. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Range of Conditions

| Cleaning techniques include: | flush slug swab |
| --- | --- |

# Unit Mapping Information

This unit supersedes and is equivalent to NWP309B Test and commission water distribution systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037