# Assessment Requirements for NWPNET045 Test and commission wastewater collection systems

Release: 1

Assessment Requirements for NWPNET045 Test and commission wastewater collection systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

monitoring work processes and ensuring safe work practices

identifying, reporting and recording hazards and risks

using personal protective equipment

participating in ensuring compliance with standards, regulations and policies

maintaining and checking records and documents

planning and implementing the testing and commissioning of wastewater collection systems

interpreting the testing requirements of the system from relevant plans and documentation

preparing and checking testing equipment

assessing risks and hazards and taking appropriate preventive measures

using testing equipment

applying testing procedures

identifying and reporting faulty system components

making the system operational and conducting post-commissioning checks

restoring the worksite

completing relevant documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

WHS on work sites

the risk factors and potential hazards of test procedures

characteristics of pipes, materials and fittings

an overview of wastewater system and water industry operations

layout and construction of wastewater collection systems

testing procedures for wastewater systems

relevant definitions, terminology, symbols and language

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037