# Assessment Requirements for NWPNET064 Control electrical risk on network pipes

Release: 1

Assessment Requirements for NWPNET064 Control electrical risk on network pipes

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and include:

conducting risk assessments contacting relevant authorities for the correct location of utilities or services identifying and selecting appropriate equipment interpreting plans and diagrams testing and applying bridging conductors using electrical testing and monitoring safety devices.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

customer service procedures electrical testing equipment operation, capacity and limitations hazards, risks and controls specific to work health and safety (WHS) operating procedures network pipes relevant authorities to contact for the correct location of utilities or services, including Dial Before You Dig relevant legislation, regulations and workplace procedures relevant WHS requirements risk factors and potential hazards associated with network pipes.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037