# Assessment Requirements for NWPSOU001 Respond to blue-green algae outbreaks

Release: 1

Assessment Requirements for NWPSOU001 Respond to blue-green algae outbreaks

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed in at least one of the blue-green algae outbreak areas listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

performing blue-green algae sampling

maintaining integrity of samples

recording required information and basic data reporting

implementing response plans

selecting control methods such as isolation of the area

reporting to supervisor depending on the extent of the outbreak

notifying affected people, for example by phone

identifying who to notify

selecting appropriate method of notification

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

types and purposes of blue-green algae samples

procedures and techniques for blue-green algae sampling

all blue-green algae outbreak areas

hazards associated with collection of blue-green algae samples

characteristics of blue-green algae

problems caused by blue-green algal blooms

methods of blue-green algae control

strategy and emergency planning

hazardous materials handling for algaecides

material safety data sheets

impact of blue-green algae on water and/or wastewater treatment processes

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037