# NWPSOU012 Monitor, inspect and report catchment operations

Release: 1

NWPSOU012 Monitor, inspect and report catchment operations

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP240B Inspect and report catchment and surrounding areas. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes One new Element added PC 1.3 removed three new PC added to Element 1 two new PC added to Element 2 |

# Application

This unit describes the skills required to inspect and monitor catchment areas, monitor flows and coordinate catchment processes. The ability to collect data and samples, monitor and adjust regulatory systems, identify and investigate catchment problems and produce technical reports is essential to performance.

This unit applies to those working as field staff with a specific responsibility for inspecting, monitoring and reporting catchment operations.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS.

Those undertaking this unit would work under indirect supervision while performing routine tasks ensuring minimum damage to the environment, in a familiar context. The level of responsibility may vary according to the size and complexity of the catchment area.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Source

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Inspect and monitor catchment operations | 1.1 Identify and apply work requirements for undertaking inspections of catchments and surrounding areas. 1.2 Schedule routine inspections of catchment areas to identify water quality risks. 1.3 Inspect and monitor designated locations according to agreed schedule and procedures. 1.4 Inspect flow regulating systems and determine required adjustments to meet demand. 1.5 Select, fit and use required safety equipment, including personal protective equipment. |
| 2. Operate and report catchment conditions | 2.1 Measure and record catchment inflows and outflows or extractions. 2.2 Collect and record water samples according to sampling requirements. 2.3 Identify organisation standards for the condition and maintenance of catchment environment. 2.4 Identify and report changes to environmental conditions. 2.5 Identify and report flows into, and conditions of, catchment areas. |
| 3. Assist in investigating hazards, risks and catchment security | 3.1 Identify and report activities within catchment that pose a hazard or risk to the public, water quality or the environment. 3.2 Identify and report activities of external parties within the catchment and surrounding area that breach organisational guidelines. 3.3 Check and confirm public complaints and report to relevant personnel. |
| 4. Complete documentation | 4.1 Collect and analyse catchment data. 4.2 Review and action investigation results. 4.3 Compile reports from catchment inspections. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP240B Inspect and report catchment and surrounding areas.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPSOU012 Monitor, inspect and report catchment operations

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

using safety equipment and personal protective equipment

using pest eradication equipment

calculating flow and capacity

coordinating safety surveillance

identifying control system faults

inspecting and monitoring catchment areas

monitoring flows

coordinating catchment processes

inspecting catchment areas and identifying water quality risks

monitoring catchment and collecting and reporting catchment data

collecting samples

inspecting and adjusting flow regulating systems

identifying and reporting on flows into the catchment area

assessing and reporting on the condition of the catchment area

identifying and addressing risks and hazards

monitoring and integrating catchments processes

completing documentation

implementing actions resulting from investigations

monitoring and/or reporting illegal activities

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

inspection of catchments

coordination processes

by-laws and legislation

catchment layout and processes

environmental aspects of catchment areas

policies and standard operating procedures

Australian Drinking Water Guidelines (ADWG)

hazardous substances handling

communication systems

risk factors and potential hazards involved with catchment area processes, equipment operation, capacity and limitations

effects of weather and conditions on operation of catchment areas

pest control specifications

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037