# NWPSOU014 Develop and implement catchment operational plans

Release: 1

NWPSOU014 Develop and implement catchment operational plans

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP416B Coordinate and monitor water storage catchment activities. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes PC 1.1, 1.2 and 1.4 merged PC 2.2 renumbered and PC 2.4 removed One new PC added to Element 2 |

# Application

This unit describes the skills required to develop and implement catchment operational plans.

This unit applies to workers with a specific responsibility for ensuring that storage catchment activities comply with organisational and statutory requirements.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS.

Those undertaking this unit would work independently or in a team, however, the level of responsibility may vary according to the size, scope, location, and technical complexity of individual projects. They would perform complex tasks, ensuring minimum damage to the environment in a familiar context.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Source

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Confirm the performance measures | 1.1 Identify catchment management, stakeholder and water quality and quantity requirements. 1.2 Gather historical catchment information and apply as required. 1.3 Identify environmental factors and issues that impact on the catchment area. |
| 2. Monitor catchment activities | 2.1 Conduct monitoring and testing programs. 2.2 Develop catchment operation and maintenance plan. 2.3 Monitor catchment area usage and maintenance activities. |
| 3. Report outcome of testing and monitoring | 3.1 Analyse, record and report coordination and monitoring data. 3.2 Identify and investigate current and/or potential problems and report results. 3.3 Identify, investigate and report breaches of usage provisions. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP416B Coordinate and monitor water storage catchment activities.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPSOU014 Develop and implement catchment operational plans

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

using safety equipment and personal protective equipment

identifying water quality risks and preparing protection strategies

coordinating and monitoring water storage catchment activities

identifying catchment management requirements

identifying stakeholder requirements and environmental factors that impact on water storage catchment areas

implementing monitoring and testing programs

monitoring usage

investigating and reporting on breaches

reporting on monitoring activities

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

relevant historical records

relevant legislation, policies, procedures

relevant technical skills

coordination processes

system layout, processes

environmental aspects of catchment areas

hazardous substances handling

communication systems

risk management principles

risk factors and potential hazards involved with catchment area processes equipment operation, capacity and limitations

effects of weather and conditions on operation of catchment areas

pumping and valving systems

control systems

pest control specifications

customer expectations and requirements

catchment management issues, including:

feral/native animals

transfer of noxious weeds

human interaction with the catchment including litter and waste

perimeter inspections

fire management

mimosa

policing role

conservation management

remote community catchment areas

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037