# Assessment Requirements for NWPSOU021 Inspect and maintain basic dams and water storages

Release: 1

Assessment Requirements for NWPSOU021 Inspect and maintain basic dams and water storages

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

undertaking visual inspections

exercising valves

performing work-related calculations

measuring and recording seepage flow

operating controls and ancillary equipment according to standard operating procedures

following policies, procedures and standards

using safety and personal protective equipment

adjusting mechanical and electrical systems

identifying control system faults

conducting routine inspections of dams and storages according to organisational requirements

taking readings from specified devices

identifying and reporting repair and maintenance requirements

conducting routine basic maintenance according to organisational maintenance plans

completing inspection and maintenance reports

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

visual and electronic inspection procedures

equipment operation, capacity and limitations

system layout

risk factors and potential hazards of surface water systems

routine maintenance procedures

communication and reporting systems

basic dam design

risks to dams

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037