# Assessment Requirements for NWPSOU022 Monitor and control dam operations

Release: 1

Assessment Requirements for NWPSOU022 Monitor and control dam operations

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and investigating operational, access or security problems

conducting inspections

implementing operational activities

interpreting plans, drawings, instructions, standard operating procedures, policies and standards

using equipment, tools, machinery and personal protective equipment

identifying safety hazards

preparing for and implementing dam operation plans

operating dams

interpreting technical documentation

collecting and analysing technical information

preparing required reports

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

properties of stored water

basic dam design principles

risks to dams

lessons from dam incidents

dam safety emergency operations

dam security issues

dam access issues

dam operation principles

basic materials science

communication systems

basic principles of hydraulics

system layout

environmental aspects of operation and maintenance

lock out procedures for mechanical and electrical installations

control systems

equipment operation

relevant utilities and service bodies

hazardous materials handling

effects of weather and conditions on bulkwater assets

risk management techniques

WHS

organisational and statutory requirements

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037