# NWPSOU022 Monitor and control dam operations

Release: 1

NWPSOU022 Monitor and control dam operations

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP319A Monitor and control dam operations. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice PC 1.2 and 1.3 removed One new PC added to Element 1 |

# Application

This unit describes the skills required to prepare for and implement dam operation plans, including inspection and testing of dam safety mechanisms.

This unit applies to those working as field and operational staff with a specific responsibility for the operation of ungated dams.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to.

Those undertaking this unit would work under supervision while performing routine tasks in a limited range of familiar contexts.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Source

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare for dam operation | 1.1 Check and apply guidelines and regulatory requirements for dam operation to operation plans. 1.2 Prepare for dam operations. |
| 2. Implement dam operation plans | 2.1 Follow dam operation plans. 2.2 Inspect and test plant and equipment. 2.3 Test and record dam safety mechanisms. |
| 3. Compile and process operation reports | 3.1 Collect operational data from measurement instruments, inspections and team members. 3.2 Process, evaluate, validate, record and store operational data. 3.3 Record and report structural, material and/or equipment problems. 3.4 Recommend remedial action. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP319A Monitor and control dam operations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPSOU022 Monitor and control dam operations

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and investigating operational, access or security problems

conducting inspections

implementing operational activities

interpreting plans, drawings, instructions, standard operating procedures, policies and standards

using equipment, tools, machinery and personal protective equipment

identifying safety hazards

preparing for and implementing dam operation plans

operating dams

interpreting technical documentation

collecting and analysing technical information

preparing required reports

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

properties of stored water

basic dam design principles

risks to dams

lessons from dam incidents

dam safety emergency operations

dam security issues

dam access issues

dam operation principles

basic materials science

communication systems

basic principles of hydraulics

system layout

environmental aspects of operation and maintenance

lock out procedures for mechanical and electrical installations

control systems

equipment operation

relevant utilities and service bodies

hazardous materials handling

effects of weather and conditions on bulkwater assets

risk management techniques

WHS

organisational and statutory requirements

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037