# Assessment Requirements for NWPSOU024 Inspect and report on concrete dam safety

Release: 1

Assessment Requirements for NWPSOU024 Inspect and report on concrete dam safety

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

planning and organising work schedules and responses to contingencies

communicating with engineering professionals, team members and the public on concrete dam safety using clear and direct communication and identifying and confirming monitoring requirements

recording and reporting information and interpreting a range of workplace documents

making mathematical calculations to collect and process data from dam inspections

identifying concrete dam faults and failure indicators

assessing the importance and urgency of deficiencies

collecting and processing concrete dam observation information

reading and interpreting plans, drawings and charts

producing inspection reports

identifying safety hazards and implementing safety protocols

using digital photography and equipment for determining location

interpreting and applying relevant organisational and regulatory information and requirements to the planning of safety monitoring activities

identifying inspection features and scheduling activities according to the required frequency

conducting concrete dam inspection activities

gathering and recording data

identifying faults, changes and failure indicators

reporting on inspection and monitoring outcomes, with recommendations for action

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

concrete dam types, elements, and failure modes

historic information and lessons from previous concrete dam incidents

properties of stored water

concrete dam design and construction principles, including:

materials science

hydraulics

aging of concrete

concrete technology

treatment of foundations, grouting and drainage systems

post tensioning principles

principles of gravity action

principles of arch action

principles of buttress action

principles of roller compacted concrete

uplift pressures and drainage systems

concrete dam faults and change indicators

dam performance history

principles of concrete dam inspection

work health and safety and personal work site safety in procedures and worksite specific requirements

organisational policies, procedures, guidelines and requirements relevant to the work site and dam safety monitoring

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037