# NWPSOU025 Inspect and report on embankment dam safety

Release: 1

NWPSOU025 Inspect and report on embankment dam safety

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP328A Inspect and report on embankment dam safety. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice |

# Application

This unit describes the skills required to plan, implement and report on embankment on dam safety inspection. This requires the operator to conduct routine visual inspection and capture and report dam condition and faults, in dams constructed primarily from earth and rock materials. Dam safety operators should be aware of the damage potential of the dam and be able to recognise and report deficiencies or adverse trends that could lead to failure.

This unit applies to those with responsibility for the inspection of embankment dams and reporting of faults or trends.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to.

Those undertaking this unit would work under supervision while performing routine tasks in range of familiar contexts.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Source

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare embankment dam inspection | 1.1 Identify and apply organisational requirements relating to embankment dam safety inspection. 1.2 Identify features of embankment dam types and their applications to the dams to be inspected. 1.3 Identify embankment dam behaviour under a range of conditions. 1.4 Gather and validate checklists and previous inspection reports. 1.5 Schedule activities for embankment dam inspection. |
| 2. Inspect and assess the condition of components of embankment dams | 2.1 Implement embankment dam inspection procedures and practices including for unusual events. 2.2 Inspect and assess the condition and performance of identified areas and features of embankment dams. 2.3 Recognise, record and assess any faults and changes in the condition of the embankment dam and its appurtenant structures. |
| 3. Report the condition of the components of embankment dams | 3.1 Identify the purpose and audience of dam safety reports. 3.2 Collect and record measurements and evidence to establish the extent of changes in conditions. 3.3 Prepare and submit reports to meet organisational requirements. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP328A Inspect and report on embankment dam safety.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPSOU025 Inspect and report on embankment dam safety

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

following instructions, standard operating procedures, policies and standards for embankment dam safety

planning and organising work schedules and responses to contingencies

communicating with engineering professionals, team members and the public on dam safety using clear and direct communication

making mathematical calculations to collect and process data from dam inspections

identifying embankment dam faults and failure indicators

assessing the importance and urgency of deficiencies

applying safety hazards protocols

using digital photography and locational equipment

reporting on embankment dam safety inspection

interpreting and applying relevant organisational and regulatory information and requirements to the planning of inspection activities

identifying inspection features and scheduling activities according to the required frequency

conducting embankment dam inspection activities

gathering and recording data

identifying faults, changes and failure indicators

reporting on inspection and monitoring outcomes, with recommendations for action

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

embankment dam types including:

concrete faced rock fill dams

elements, zones

risks and failure modes

historic information and lessons from previous embankment dam incidents

potential earthquake effects and damage

properties of stored water

embankment dam design and construction principles, including basic understanding of:

materials science (in particular soil and rock properties)

hydraulics and erosion by water

principles of filters, piping and embankment stability

treatment of foundations, grouting and drainage system

pore pressures

causes of cracks and settlement

dam performance history

principles of embankment dam inspection

WHS and personal work site safety relevant to worksite and working with dams including working in confined spaces

organisational policies, procedures, guidelines and requirements relevant to the work site and dam safety monitoring

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037