# Assessment Requirements for NWPSOU027 Route floods through storages

Release: 1

Assessment Requirements for NWPSOU027 Route floods through storages

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

calculating inflow and outflow rates

interpreting and plotting graphs

operating controls and ancillary equipment

conducting inspections

interpreting plans, drawings, instructions, standard operating procedures, policies and standards

using safety equipment and personal protective equipment

identifying hazards

using equipment and instruments

managing and conducting surveillance of catchment run-off through dams and other water storage assets

operating gated spillways

identifying and investigating operational problems

collecting and analysing technical information

preparing required reports

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

properties of stored water

system hydraulics

effects of water and catchment conditions on flow expectations

interrogation of catchment monitoring equipment

water flow measurement

operation of flood gates or plant

control systems

dam operation principles

materials science

communication systems

principles of hydraulics

system layout

environmental aspects of operation and maintenance

lock out procedures for mechanical and electrical installations

control systems

equipment operation

relevant utilities and service bodies

hazardous materials handling

effects of weather and conditions on bulkwater assets

principles of dam inspection

risk management techniques

WHS

organisational and statutory requirements

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037