# NWPSOU027 Route floods through storages

Release: 1

NWPSOU027 Route floods through storages

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP318A Monitor and operate gated spillways. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes PC 2.1 and 2.2 removed Two new PC added to Element 2 one new PC added to Element 4 |

# Application

This unit of competency describes the skills required to manage and conduct surveillance of catchment run-off through dams and other water storage assets with gated spillways for dam/storage operations and flood routing.

This unit applies to those working as field and operational staff with a specific responsibility for the operation of dams and other water storage assets with gated spillways.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS and manufacturer guidelines.

Those undertaking this unit would work under indirect supervision, while performing routine tasks in a familiar context, ensuring minimum damage to the environment.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Source

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Monitor flow and flood routing | 1.1 Monitor catchment behaviour during normal and flood conditions. 1.2 Determine outflow using standard flow rate calculations. 1.3 Determine flow control settings. |
| 2. Plan and prepare for dam or storage operation | 2.1 Plan and prepare for dam or storage operations. 2.2 Conduct inspections. 2.3 Develop hydrograph template. |
| 3. Implement dam/water storage operation plans | 3.1 Apply operation plans. 3.2 Inspect and test plant and equipment. 3.3 Test, assess and document safety mechanisms. |
| 4. Regulate flows | 4.1 Plot flood data on hydrograph. 4.2 Regulate flow control mechanisms to maintain safety of asset and required system supply and flood routing. 4.3 Produce data relating to flood performance. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP318A Monitor and operate gated spillways.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037