# Assessment Requirements for NWPSOU029 Conduct and report dam safety instrumentation monitoring

Release: 1

Assessment Requirements for NWPSOU029 Conduct and report dam safety instrumentation monitoring

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

following instructions, operating procedures, policies and standards for dam safety monitoring and instrumentation

collecting and processing data

reading and interpreting plans, drawings and charts

recording and reporting monitoring and safety information

interpreting a range of workplace documents

using mathematical calculations to collect and process data on dam safety

producing dam instrumentation monitoring reports

inspecting and operating monitoring equipment and instruments

reporting deviations and faults in equipment and data

preparing monitoring activity

setting up relevant instrumentation

identifying faults, changes and failure indicators

reporting on dam safety monitoring outcomes

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate and/or the AQF level of the qualification being undertaken.

principles of dam design and construction

causes of dam failures and incidents

impact of unusual events on dam safety

types of instrumentation and their application

requirements for installation of instruments and instrument failure

purpose of monitoring and instrumentation used

instructions for the operation of monitoring equipment

dam safety performance indicators

WHS procedures related to dam monitoring and working in confined spaces

dam faults and changes indicated by monitoring and instrumentation

organisational and statutory requirements related to monitoring and reporting dam safety

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037