# NWPSOU029 Conduct and report dam safety instrumentation monitoring

Release: 1

NWPSOU029 Conduct and report dam safety instrumentation monitoring

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP326 Conduct and report dam safety instrumentation monitoring. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice |

# Application

This unit describes the skills required to plan, conduct and report dam safety instrumentation monitoring. This requires implementing and reporting on the monitoring of basic instrumentation installed in dams to provide assurance of their ongoing safety.

This unit applies to those working as field and operational staff with responsibility for monitoring the safety of a dam and reporting faults or trends.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to.

Those undertaking this unit would work under indirect supervision, while performing routine tasks in a limited range of familiar contexts.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Source

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare for dam safety monitoring | 1.1 Identify organisational procedures and guidelines for dam safety monitoring. 1.2 Identify and apply operational procedures determining the techniques, methods and equipment used for dam safety monitoring. 1.3 Organise work activities according to workplace requirements and data collection equipment and methods. |
| 2. Conduct dam safety monitoring | 2.1 Implement dam safety monitoring procedures and practices including unusual events. 2.2 Ensure equipment is functioning and fit for purpose. 2.3 Record dam instrumentation readings. 2.4 Recognise and report any monitoring data that may indicate faults or changes outside the expected range. |
| 3. Report on dam safety monitoring | 3.1 Add newly recorded information on dam behaviour to historical monitoring information. 3.2 Prepare and submit monitoring instrumentation data. 3.3 Report deviations outside approved limits including potential causes and make recommendations for follow up action. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP326 Conduct and report dam safety instrumentation monitoring.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037