# Assessment Requirements for NWPSOU033 Operate and maintain salt interception works

Release: 1

Assessment Requirements for NWPSOU033 Operate and maintain salt interception works

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

gathering bore data

locking and tagging out of equipment

storing, handling and using chemicals

collecting samples and conducting water tests

maintaining pumps, valves, pipes, dose acids

maintaining bores and piezometers

undertaking minor civil works including at least one of:

pipeline construction

concrete works

metal fabrication

optimising pipelines and pump stations

repairing pipelines and valves

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

groundwater hydraulics

pump performance

pipeline hydraulics

chemical handling and dosing

groundwater data collection

environmental impacts of saline water

maintenance scheduling

valve selection and operation

optimisation principles for pump stations and pipelines

legislation relating to salt interception works

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037