# Assessment Requirements for NWPSOU053 Coordinate and monitor groundwater system usage

Release: 1

Assessment Requirements for NWPSOU053 Coordinate and monitor groundwater system usage

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

undertaking source inspections

using safety equipment and personal protective equipment

identifying potential sources of contamination

coordinating and monitoring groundwater system usage

identifying groundwater management requirements, including water quality and quantity requirements

identifying stakeholder requirements and environmental and development factors that impact on groundwater

implementing monitoring and testing programs

monitoring groundwater usage and quality

investigating and reporting on breaches

monitoring assets performance

scheduling asset maintenance programs

analysing and reporting asset performance data

identifying, investigating and reporting current and potential asset problems, including recommendations for action

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

relevant legislation, policies and procedures, organisational and statutory requirements

customer expectations and requirements

groundwater hydraulics

properties of stored water

system layout

control systems

equipment operation

relevant utilities and service bodies

hazardous materials handling

effects of weather and conditions on bulkwater assets

principles of soil mechanics

concrete structure, strengths and deterioration

risk management techniques

WHS

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037