# NWPTRD001 Evaluate, implement and monitor standard low risk trade waste discharge approvals

Release: 1

NWPTRD001 Evaluate, implement and monitor standard low risk trade waste discharge approvals

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP430A Evaluate, implement and monitor standard low-risk trade waste discharge approvals. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice All Elements reworded All PC in Element 1 revised One new PC in Element 3 |

# Application

This unit describes the skills required to assess and process applications for standard low risk trade waste discharges from retail commercial and light industrial organisations; monitor compliance with the trade waste discharge approval issued; and renew, amend, suspend or revoke trade waste approvals.

This unit applies to those working as trade waste officers or inspectors with a specific responsibility for managing applications and approvals for standard low risk liquid trade waste discharges to wastewater collection systems from small commercial and light industrial organisations.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to.

Those undertaking this unit would work independently, while performing complex tasks, in a range of familiar contexts. The level of responsibility may vary according to the size and scope of the trade waste system.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Trade waste

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Evaluate trade waste discharges | 1.1 Identify significant pollutants generated. 1.2 Identify and apply information about known impacts, risk assessments and control procedures. 1.3 Identify trade waste management processes and workplace procedures. 1.4 Develop and check contingency plans. 1.5 Prepare trade waste management policies and plans. |
| 2. Process applications for trade waste | 2.1 Answer customer queries regarding trade waste applications. 2.2 Assess standard low risk trade waste applications to establish that all necessary documentation has been provided. 2.3 Assess standard trade waste applications against concentration, mass and flow limits, discharges of prohibited substances and local sewerage issues, and consider environmental issues. 2.4 Assess proposed pre-treatment and monitoring systems for suitability. 2.5 Schedule and conduct on-site inspections. |
| 3. Implement approved trade waste discharge applications | 3.1 Calculate estimates of relevant charges and discuss with the applicant as appropriate, according to established charging policies and formulae. 3.2 Determine monitoring activities and schedules and discuss with the applicant. 3.3 Create and maintain database records, including charging parameters and monitoring schedule. 3.4 Monitor construction activities where applicable to ensure compliance with approvals. |
| 4. Monitor customers’ trade waste treatment and disposal and review trade waste approval | 4.1 Conduct routine monitoring of the compliance of customers’ trade waste treatment and discharge. 4.2 Establish processes to identify and report non-compliances with trade waste approvals. 4.3 Identify and apply enforcement measures and processes to manage identified non-compliances. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP430A Evaluate, implement and monitor standard low-risk trade waste discharge approvals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037