# Assessment Requirements for NWPTRD003 Evaluate, implement and monitor high risk trade waste discharge approvals

Release: 1

Assessment Requirements for NWPTRD003 Evaluate, implement and monitor high risk trade waste discharge approvals

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

advising customers of the trade waste management policies and procedures in operation and of requirements for obtaining and complying with trade waste discharge approvals assessing and evaluating applications for high risk trade waste treatment and disposal including the following factors: concentration discharges of prohibited substances environmental issues flow limits local sewage issues mass assessing applications including: applying approval conditions communicating conditions with customers assessing chemical storage assessing proposed pre-treatment, monitoring and control systems creating and maintaining customer database records creating records and maintaining database containing customer records estimating cost calculations for high risk trade waste disposal identifying and evaluating trade waste producing processes identifying and implementing non-compliance issues identifying and reporting non-compliance of trade waste approvals implementing charging and monitoring procedures interpreting and applying legislation and policies applicable to trade waste interpreting and reviewing hydraulic, architectural and site plans scheduling and performing onsite inspections using personal protective equipment for protection against physical, chemical and biological hazards

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

customer expectations and requirements hydraulics and chemistry industrial waste treatment methods and processes for high risk industrial organisations investigation procedures measuring, testing and sampling procedures personal protection and safety precautions relevant for wastewater sampling pollutant identification techniques relevant formulae relevant legislation, policies and procedures including: environmental sustainable practices work health and safety significant pollutants wastewater collection, treatment and disposal systems water quality parameters of significance to the wastewater system

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations. Where this is not appropriate, assessment must occur in suitable simulated workplace operational situations reflecting actual workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and personal protective equipment currently used in industry applicable relevant documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037