# NWPTRD005 Develop and modify trade waste policies and plans

Release: 1

NWPTRD005 Develop and modify trade waste policies and plans

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to develop and modify trade waste policies and plans. It includes planning, developing, modifying, reviewing and refining policies and plans for trade waste activities relating to liquid waste discharge to wastewater collection systems. It also includes applying and complying with relevant legislation, regulations, industry standards and workplace policies and procedures. This unit applies to those working as leaders in water organisations with responsibility for the management of trade waste policies and plans. Those undertaking this unit would work autonomously, leading staff, while performing sophisticated tasks in a range of familiar contexts. No licensing, legislative or certification requirements apply to unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Trade waste

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for trade waste management | 1.1 | Identify and review relevant provisions of trade waste legislation, standards and enterprise policies |
|  |  | 1.2 | Document trade waste policies and procedures |
|  |  | 1.3 | Identify wastewater quality parameters generated by major industries |
|  |  | 1.4 | Consider information about known impacts, risk assessments and control procedures in preparing plans |
|  |  | 1.5 | Document responsibilities and accountabilities according to workplace procedures |
| 2 | Develop and modify trade waste policies and plans | 2.1 | Conduct community, workplace and stakeholder consultation |
|  |  | 2.2 | Address issues raised through consultation and incorporate issues relevant to policy in policy development |
|  |  | 2.3 | Identify and explain trade waste processes to stakeholders including treatment and disposal processes together with the required workplace procedures and relevant environmental factors |
|  |  | 2.4 | Develop and modify contingency plans for major trade waste industries |
|  |  | 2.5 | Summarise issues identified by reviews and audits in trade waste policies and plans |
|  |  | 2.6 | Prepare and present trade waste policies and plans |
| 3 | Review and refine trade waste policies and plans | 3.1 | Review trade waste policies against established objectives, policies and plans |
|  |  | 3.2 | Review policies and plans through consultation, against prevailing stakeholder expectations |
|  |  | 3.3 | Modify policies and plans to include identified and required changes |
|  |  | 3.4 | Benchmark policies, systems and plans against other water utilities |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment.

# Unit Mapping Information

This unit replaces and is equivalent to NWPTRD022 Develop and modify trade waste policies and plans.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037