# Assessment Requirements for NWPTRD023 Coordinate, implement and report on trade waste monitoring procedures

Release: 1

Assessment Requirements for NWPTRD023 Coordinate, implement and report on trade waste monitoring procedures

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

using wastewater sampling and preservation techniques for on-site and laboratory testing

interpreting and applying legislation and policies applicable to trade waste

developing monitoring plans

coordinating measuring, testing and sampling activities

interpreting and evaluating sample analysis data

assessing risks and hazards associated with sampling activities

monitoring process inputs and outputs

planning and conducting investigations

assessing environmental impact using ISO 14001 where appropriate

assessing waste treatment methods, processes, plant and equipment

using appropriate personal protective equipment for protection against physical, chemical and biological hazards

implementing monitoring and testing programs

analysing test results

investigating problems on-site

monitoring treatment and disposal provisions on-site

recording and reporting data

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

relevant legislation

relevant enterprise policies for trade waste management

water quality parameters of significance to the wastewater system

personal protection and safety precautions for wastewater sampling, including the requirements for relevant inoculations including:

Q fever

hepatitis A and B

polio

tetanus

diphtheria

standard industrial waste treatment methods, processes and procedures for retail commercial and light industrial organisations

investigation procedures

range of appropriate measuring, testing and sampling procedures

customer expectations and requirements

WHS

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037