# Assessment Requirements for NWPTRT002 Develop and manage a treatment process monitoring program

Release: 1

Assessment Requirements for NWPTRT002 Develop and manage a treatment process monitoring program

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

assessing environmental factors assessing public health impacts conducting investigations coordinating measuring and testing activities gathering, interpreting and synthesising information including: historical data relevant legislation industry standards stakeholder requirements results of treatment testing and monitoring monitoring and evaluating the outcomes of the treatment processes management plan planning and implementing testing processes and programs preparing reports and recommendations for future action providing advice and communicating with stakeholders and customers using mathematical and scientific techniques to interpret test results

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

investigation procedures multiple barrier approach to water quality measuring and testing procedures relevant legislation, industry standards and workplace procedures relevant workplace documentation risk management principles stakeholder requirements

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations. Where this is not appropriate, assessment must occur in suitable simulated workplace operational situations reflecting actual workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and personal protective equipment currently used in industry applicable relevant documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037