# Assessment Requirements for NWPTRT005 Monitor and operate water treatment processes

Release: 1

Assessment Requirements for NWPTRT005 Monitor and operate water treatment processes

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

applying workplace procedures collecting and labelling samples collecting and recording data completing documentation conducting routine plant inspections performing disinfection processes performing water treatment separation processes preparing and applying chemical dosing.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

demands and uses of water, both domestic and industrial interpreting safety data sheets physical, chemical and microbiological characteristics of water post-treatment processes pre-treatment processes reasons for water treatment relevant legislation, regulations and workplace procedures relevant technologies for operating and controlling water treatment processes relevant water treatment guidelines and standards risk factors and potential hazards associated with the operation of water treatment processes risk management principles sources of water types of chemicals and water chemistry types of treatment plants and processes water and chemical principles water cycle.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037