# NWPTRT006 Monitor and operate fluoride addition processes

Release: 1

NWPTRT006 Monitor and operate fluoride addition processes

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to monitor and operate fluoride addition processes. It includes preparing for fluoridation processes, applying fluoride dosing and reporting on water quality control. This unit applies to those working as water operators responsible for fluoridation processes in water treatment. Those undertaking this unit would work under appropriate supervision, while performing routine tasks, in a range of familiar contexts. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Treatment

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for work | 1.1 | Determine work requirements from job specifications and plans |
|  |  | 1.2 | Select and check equipment required to meet safety requirements of task and worksite |
|  |  | 1.3 | Select, fit and use required safety equipment, including personal protective equipment (PPE) |
|  |  | 1.4 | Handle and store fluoridation chemicals according to workplace procedures |
| 2 | Monitor processes | 2.1 | Monitor fluoridation processes according to workplace procedures |
|  |  | 2.2 | Collect samples and conduct process tests according to workplace procedures |
|  |  | 2.3 | Perform calculations and make process adjustments to maintain effectiveness of fluoride according to workplace procedures |
|  |  | 2.4 | Monitor the parameter set points for critical control points and operational control points |
| 3 | Apply fluoride dosing | 3.1 | Prepare and apply fluoridation chemicals according to workplace procedures |
|  |  | 3.2 | Control fluoride dosing to maintain required fluoride concentration |
|  |  | 3.3 | Maintain information relating to fluoride supply and usage according to workplace procedures |
| 4 | Complete documentation | 4.1 | Collect, record and complete process data according to workplace procedures and process requirements |
|  |  | 4.2 | Identify data outside of normal operational parameters to relevant personnel for further action |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPTRT012 Operate and control fluoride addition process.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037