# Assessment Requirements for NWPTRT014 Operate and control iron and manganese removal processes

Release: 1

Assessment Requirements for NWPTRT014 Operate and control iron and manganese removal processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed in at least one of the processes listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on least one occasion.

identifying and reporting faults

completing logs

preparing and applying chemical dosing

monitoring test results and processes

conducting routine process inspections

taking samples and performing basic tests including at least either jar testing or iron and manganese analyses

applying basic process formulae including at least either chemical dosage or detention time

making basic process adjustments according to instructions including at least one of:

dosage

flow rate

detention time

pH

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

chemical forms and occurrence of iron and manganese

impact of stratification in reservoirs

problems associated with iron and manganese in drinking water systems

chemistry of common oxidation removal processes including aeration, chlorination, potassium permanganate

manganese coated filtration removal processes including greensand

ion exchange removal processes

sequestering with polyphosphates

chemical dosing processes

# Assessment Conditions

Competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace, the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037