# Assessment Requirements for NWPTRT015 Operate and control coagulation and flocculation processes

Release: 1

Assessment Requirements for NWPTRT015 Operate and control coagulation and flocculation processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

taking samples and performing tests including at least one of:

flocculation growth and size

flocculation time

mixing time

mixing energy

pH

colour

turbidity

routine jar tests and associated timings

residual aluminium or iron

alkalinity

drop tests

dosage feed rate review and checks

producing logs and reports

preparing testing solutions and solutions strengths

performing process calculations including at least one of:

preparation of dosing solutions

jar test dosages

dry and liquid chemical feed rates

mixing intensity

preparing and applying chemical dosing

applying optimised jar test results in the process

conducting routine plant inspections

identifying and reporting system faults

making basic system adjustments including at least one of:

pH correction

chemical dosing

completing required documentation including at least one of:

routine plant inspection and safety checks

water quality sampling and test results

routine maintenance reports

chemical dosing calculations

process set point changes

water quality and safety incident reports

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

process layout

process flash mix

flocculation process

chemicals used i.e. polymers, coagulants, flocculants and pH correction

features and components of coagulation and flocculation systems

process operations including:

chemical addition

flash mixing

flocculation

chemicals used for coagulation and flocculation

chemical dosing processes

risk factors and potential hazards related to coagulation and flocculation systems including:

aluminium and iron based coagulants

synthetic organic polymers

pH adjusting chemicals such as lime, soda ash, caustic soda

risk control requirements including safety equipment and safety data sheets (SDS)

operation of pumping and valving systems

control and communications systems

water testing procedures

effects of weather and conditions on operation of site or plant

procedures for storing and handling dangerous goods and chemicals

understanding risk management principles of ADWG and AGWR

jar testing dosage and calculations

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Some components of this unit require assessment in a workplace environment therefore the unit is not suitable for fully external or electronic based assessment.

Consideration must be given to holistic assessment for this unit. Refer to advice in the companion volumes.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037