# NWPTRT019 Operate and control granular media filters

Release: 2

NWPTRT019 Operate and control granular media filters

# Modification History

Release 2. This is the second release of this unit of competency in the NWP National Water Training Package. Replace application with correct information.

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to operate and control granular media filters. It includes monitoring granular media filtration plants, measuring and reporting on system performance and processing quality control. It also includes identifying faults, determining and applying technical adjustments and conducting chemical dosing procedures. This unit applies to operational staff with a specific responsibility for granular media filtration processes in treatment plants. Those undertaking this unit would work under appropriate supervision, while performing routine tasks, within a familiar context. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Treatment

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for work | 1.1 | Determine work requirements from job specifications and plans |
|  |  | 1.2 | Select and check equipment required to meet safety requirements of task and worksite |
|  |  | 1.3 | Select, fit and use required safety equipment, including personal protective equipment (PPE) |
| 2 | Operate and control filtration processes | 2.1 | Conduct routine inspections according to workplace procedures |
|  |  | 2.2 | Identify and report process faults to relevant personnel |
|  |  | 2.3 | Collect process samples and conduct standard tests according to workplace procedures |
|  |  | 2.4 | Interpret data and make process adjustments to maintain operational parameters |
| 3 | Complete documentation | 3.1 | Collect, interpret and record process data according to workplace procedures and process requirements |
|  |  | 3.2 | Identify data outside of normal operational parameters to relevant personnel for further action |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPTRT041 Operate and control granular media filters.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPTRT019 Operate and control granular media filters

# Modification History

Release 2. This is the second release of this unit of competency in the NWP National Water Training Package. Replace application with correct information.

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

collecting data and completing required documentation completing reports conducting routine plant inspections identifying and reporting faults identifying control system faults making process adjustments including at least one of the following: backwash settings filter aid dosing filtration rate pH correction monitoring test results and processes performing process calculations solving operational problems taking samples and conducting tests using safety and personal protective equipment

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

filtration equipment operation, capacity and limitations interpretation and use of safety data sheets pressure sand filters, gravity sand filters and backwashing principles of granular media filtration processes relevant legislation, regulations and workplace procedures risk factors and potential hazards relating to granular media filtration processes system layout

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037