# NWPTRT026 Monitor and operate ozone processes

Release: 1

NWPTRT026 Monitor and operate ozone processes

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to monitor and operate ozone processes. It includes monitoring and operating ozone treatment systems, preparing and applying chemical dosing and reporting on process quality control. This unit applies to operational staff with specific responsibility for ensuring ozone treatment systems comply with workplace requirements. Those undertaking this unit would work under appropriate supervision while performing routine tasks in a range of familiar contexts. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Treatment

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for work | 1.1 | Determine work requirements from job specifications and plans |
|  |  | 1.2 | Select and check equipment and ozone supplies to meet safety requirements of task and site |
|  |  | 1.3 | Select, fit and use required safety equipment including, personal protective equipment (PPE) |
| 2 | Monitor processes | 2.1 | Monitor ozone generation and treatment processes according to workplace procedures |
|  |  | 2.2 | Collect process samples and conduct standard tests according to workplace procedures |
|  |  | 2.3 | Make process adjustments to maintain effectiveness of ozone treatment |
|  |  | 2.4 | Monitor the parameter set points for critical control points and operational control points |
|  |  | 2.5 | Calculate dosage and disinfection performance for ozone treatment |
|  |  | 2.6 | Control ozone generation and dosing to maintain operational parameters |
| 3 | Complete documentation | 3.1 | Maintain information relating to ozone generation and dosing |
|  |  | 3.2 | Collect, record and complete process data according to workplace procedures and process requirements |
|  |  | 3.3 | Identify data outside or normal operational parameters and report to relevant personnel for further action |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPTRT056 Operate and control ozone processes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037