# Assessment Requirements for NWPTRT027 Monitor and operate wastewater treatment processes

Release: 1

Assessment Requirements for NWPTRT027 Monitor and operate wastewater treatment processes

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

applying workplace procedures completing documentation conducting routine plant inspections operating and adjusting at least one of the following processes: primary treatment secondary treatment tertiary treatment solids management taking samples and performing standard tests

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

chemical and biological principles of wastewater treatment hydraulics and organic loading in wastewater plants physical, chemical and microbiological characteristics of wastewater treatment preliminary treatment, primary treatment, secondary treatment, tertiary treatment and solids management reasons for wastewater treatment relevant workplace procedures, guidelines and industry standards state or territory legislative requirements for wastewater treatment processes risk factors and potential hazards relating to wastewater treatment sources of wastewater types of components water cycle

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037