# Assessment Requirements for NWPTRT032 Assess and improve sedimentation processes

Release: 1

Assessment Requirements for NWPTRT032 Assess and improve sedimentation processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

conducting investigations and reporting on operational or control system problems

coordinating sedimentation and clarification inspection, sampling and testing

performing calculations to provide data for the analysis and development of options and solutions, including at least one of:

surface loading rate

upflow velocity

detention time

weir loading rate

interpreting a range of complex and technical documents, including at least one of:

regulatory, legislative, licensing and organisational requirements

codes and standards

specifications

organisational policies

articulating complex ideas

analysing problems and recommending appropriate remedial solutions

identifying risks and hazards

reviewing existing sedimentation and clarification process performance with reference to historical data, differences in incoming water quality and plant configuration

identifying data deficiencies and organising additional data collection through appropriate sampling and testing

assessing fault reports and investigating the current operational status of sedimentation and clarification plant components

investigating current and potential chemical addition practices

planning trials to test the performance of the determined sedimentation and clarification optimisation options and compiling recommendation reports

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

principles that form the basis of sedimentation and clarification processes

types of sedimentation and clarification processes

re-establishing sludge blankets

polymers and weighting agents

principles of sedimentation and clarification system maintenance

system layout

pumping and valving systems

range of appropriate measuring and testing procedures

investigation procedures

risk management principles relating to sedimentation and clarification systems

chemical dosing processes

# Assessment Conditions

Competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace, the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037