# Assessment Requirements for NWPTRT041 Operate and control granular media filters

Release: 1

Assessment Requirements for NWPTRT041 Operate and control granular media filters

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

solving operational problems

completing reports and logs

using safety and personal protective equipment

performing process calculations

performing system calculations

identifying control system faults

monitoring test results and processes

identifying and reporting faults

conducting routine plant inspections

taking samples and performing basic tests

making basic process adjustments, including at least one of:

pH correction

filtration rate

backwash settings

filter aid dosing

collecting data and completing required documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

pressure sand filter hydraulics, gravity sand filter hydraulics, backwash hydraulics

system layout

lockout procedures for mechanical and electrical installations

hazardous materials handling

risk factors and potential hazards relating to granular media filtration processes

equipment operation, capacity and limitations

pumping and valving systems

control systems policies and procedures for storing and handling dangerous goods and chemicals

interpretation and use of material safety data sheets

principles that form the basis of granular media filtration processes

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Some components of this unit require assessment in a workplace environment therefore the unit is not suitable for fully external or electronic based assessment.

Consideration must be given to holistic assessment for this unit. Refer to advice in the companion volumes.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037