# Assessment Requirements for NWPTRT044 Operate and control desalination processes

Release: 1

Assessment Requirements for NWPTRT044 Operate and control desalination processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria.  The candidate must be assessed in at least one of the desalination processes listed in the Range of conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

determining chemical dosing requirements

operating control equipment

solving operational problems

completing reports and logs

using safety and personal protective equipment

operating computerised equipment

performing system calculations

monitoring test results and processes

identifying and reporting faults

conducting routine plant inspections

taking samples and performing basic tests

making basic process adjustments according to instructions including the pre-treatment processes:

chemical cleaning

pre-treatment optimisation

flow control

waste disposal

collecting data and completing required documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

system layout

system processes

lockout procedures for mechanical and electrical installations

communication systems

pre-treatment processes

hazardous materials handling

interpretation of material safety data sheets

principles that form the basis of reverse osmosis and nanofiltration processes

risk factors and potential hazards

equipment operation, capacity and limitations

pipes and fittings

pumping and valving systems

mechanical and electrical control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037