# NWPTRT046 Operate and control incineration processes

Release: 1

NWPTRT046 Operate and control incineration processes

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to operate and control incineration processes. It includes monitoring an incineration plant, measuring and reporting on system performance and process quality control. It also includes identifying faults and determining and applying technical adjustments essential to performance. This unit applies to operational staff with a specific responsibility for incineration processes in water treatment plants. Those undertaking this unit would work under appropriate supervision, while performing routine tasks, within familiar contexts. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Treatment

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for work | 1.1 | Determine work requirements from job specifications and plans |
|  |  | 1.2 | Select and check equipment required to meet safety requirements of task and worksite |
|  |  | 1.3 | Select, fit and use required safety equipment, including personal protective equipment (PPE) |
|  |  | 1.4 | Monitor online instrumentation trends and combustion processes to maintain parameters of operation |
| 2 | Operate and control processes | 2.1 | Conduct routine inspections according to workplace procedures |
|  |  | 2.2 | Identify and report process faults to relevant personnel |
|  |  | 2.3 | Collect process samples and conduct standard tests according to workplace procedures |
|  |  | 2.4 | Interpret data and make process adjustments to maintain operational parameters |
| 3 | Complete documentation | 3.1 | Collect, interpret and record process data according to workplace procedures and process requirements |
|  |  | 3.2 | Identify data outside of normal operational parameters and report to relevant personnel for further action |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPTRT094 Operate and control incineration processes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037