# NWPTRT047 Monitor, operate and control lagoon processes

Release: 1

NWPTRT047 Monitor, operate and control lagoon processes

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to monitor, operate and control lagoon processes. It includes measuring and reporting on system performance and process quality control, monitoring and operating wastewater lagoon processes and reporting on system performance. This unit applies to operational staff with a specific responsibility for wastewater lagoons in treatment plants. Those undertaking this unit would work under appropriate supervision, performing routine tasks within a familiar context. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Treatment

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for work | 1.1 | Determine work requirements from job specifications and plans |
|  |  | 1.2 | Select and check equipment required to meet safety requirements of task and worksite |
|  |  | 1.3 | Select, fit and use required safety equipment, including personal protective equipment (PPE) |
| 2 | Monitor lagoon processes | 2.1 | Inspect plant according to workplace procedures |
|  |  | 2.2 | Collect process samples and conduct standard tests according to workplace procedures |
|  |  | 2.3 | Prepare samples for offsite testing |
| 3 | Operate and control lagoon processes | 3.1 | Operate lagoon processes according to workplace procedures |
|  |  | 3.2 | Perform adjustments or maintenance to enhance process performance |
|  |  | 3.3 | Collect, record and communicate process data |
|  |  | 3.4 | Identify and report observations outside defined parameters to relevant personnel for further action |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPTRT101 Operate and control lagoon processes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037