# Assessment Requirements for NWPTRT052 Operate and control hypochlorite disinfection processes

Release: 1

Assessment Requirements for NWPTRT052 Operate and control hypochlorite disinfection processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed in at least one type of process, in at least one type of technology and in at least one type of dosing procedure listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

applying policies, standard operating procedures and regulatory standards

performing work-related calculations

identifying and responding to process faults and control system faults

identifying hazards

performing hypochlorite tests and chlorine residual sampling and testing

interpreting safety data sheets (SDS)

monitoring, operating and reporting on hypochlorite disinfection systems

selecting and using appropriate tools and equipment, including personal protective equipment

collecting and reporting process data

preparing and applying hypochlorite dosing safely

performing process calculations, including at least one of:

feed rate

dosage

Ct

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

properties and chemistry of hypochlorite chemicals

effects of pH, time, temperature, UV exposure and impurities on hypochlorite breakdown

microbiological guidelines

reactions with water to produce hypochlorous acid/hypochlorite ion

impact of pH

chlorine demands, including:

ammonia

natural organic matter (NOM)

turbidity

iron, manganese and nitrite

disinfection by-products (DBP)

breakpoint

contact time

hypochlorite dosing system layout for sodium hypochlorite and/or calcium hypochlorite dosing systems

hazardous substances handling

risk factors and potential hazards associated with hypo chlorination

work-related hypochlorite calculations

hypochlorite dosing processes

automatic feed rate control systems

SDS

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Some components of this unit require assessment in a workplace environment therefore the unit is not suitable for fully external or electronic based assessment.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037