# NWPTRT052 Operate and control hypochlorite disinfection processes

Release: 1

NWPTRT052 Operate and control hypochlorite disinfection processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP268B Monitor, operate and report chlorine disinfection systems. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes Elements 2 and 3 reworded One new PC added to Elements 1 and 3 PC 2.3 removed PC 3.1 revised and renumbered PC 2.4 and 3.3 renumbered PC 3.2 and 4.1 revised |

# Application

This unit describes the skills required to monitor and operate hypochlorite disinfection systems and report on process quality control. This includes the skills required to working safely with sodium hypochlorite solutions and calcium hypochlorite solids, including their safe handling, transport and storage and implementation of emergency response procedures.

This unit applies to those working as operational staff with specific responsibility for hypochlorite disinfection systems in water and wastewater treatment plants.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS and handling of dangerous goods.

Those undertaking this unit would work under supervision, while performing routine tasks, in a range of familiar contexts.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Treatment

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare for work | 1.1 Determine work requirements from job specification and plans. 1.2 Select and check equipment and hypochlorite supplies to meet safety requirements of task and site. 1.3 Select, fit and use personal protective equipment. 1.4 Handle and store hypochlorite chemicals to maximise shelf life and reduce loss of available chlorine. 1.5 Conduct the percentage available chlorine test. |
| 2. Monitor process performance | 2.1 Monitor hypochlorite disinfection processes according to agreed schedule and procedures. 2.2 Collect samples and conduct process tests. 2.3 Make process adjustments as required to maintain effectiveness of hypochlorite disinfection. |
| 3. Apply chemical dosing | 3.1 Prepare and apply hypochlorite chemicals. 3.2 Control hypochlorite dosing to maintain required residual. |
| 4. Complete documentation | 4.1 Maintain information relating to hypochlorite supply and usage. 4.2 Collect and record process data. 4.3 Report observations outside defined parameters for further action. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Range of Conditions

| Processes include: | sodium hypochlorite solution sodium hypochlorite |
| --- | --- |
| Technologies include: | calcium hypochlorite granules calcium hypochlorite tablets |
| Dosing procedures include: | chlorinator shutdown, start up and isolation purging operations leak testing dosing pump checks |

# Unit Mapping Information

This unit supersedes and is equivalent to NWP268B Monitor, operate and report chlorine disinfection systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037