# Assessment Requirements for NWPTRT053 Operate and control UV processes

Release: 1

Assessment Requirements for NWPTRT053 Operate and control UV processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

using cleaning chemicals

applying policies, standard operating procedures and regulatory standards

performing calculations

identifying control system faults and operational problems

identifying hazards

interpreting safety data sheets (SDS)

monitoring, operating and reporting on UV irradiation disinfection systems

scheduling work

selecting and using appropriate tools and equipment, including personal protective equipment

monitoring UV irradiation disinfection systems

collecting process samples

performing standard tests, including at least one of:

UVT

turbidity

suspended solids

iron

lamp intensity

hardness

total organic carbon

maintaining and operating UV irradiation disinfection systems

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

properties of UV irradiation

microbiological water quality guidelines

UV irradiation disinfection system layout, including components

lockout procedures for mechanical and electrical installations

policies, standard operating procedures and legislation

communication systems

safe use of cleaning chemicals and prevention of associated hazards

risk factors and potential hazards associated with UV irradiation systems

UV irradiation generation equipment operation, capacity and limitations

effects of weather and conditions on operation of site or plant

SDS

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Some components of this unit require assessment in a workplace environment therefore the unit is not suitable for fully external or electronic based assessment.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037