# Assessment Requirements for NWPTRT054 Operate and control chloramination processes

Release: 1

Assessment Requirements for NWPTRT054 Operate and control chloramination processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

operating control and chemical dosing equipment

performing chloramination process calculations including at least one of:

chlorine and ammonia dose rate

chlorine to ammonia ratio

dichloramine concentration

collecting samples and conducting tests including at least one of:

total chlorine

free chlorine

monochloramine

ammonia and hypochlorite strength

pH

analysing tests

identifying and reporting process and operational faults

monitoring chloramination systems

making appropriate system adjustments including at least one of:

flow rate

chlorine feed rate

ammonia feed rate

chlorine to ammonia ratio

calibration of chemical dosing equipment

preparing and applying chloramination chemical dosing, including at least one of:

liquefied chlorine gas

sodium hypochlorite

anhydrous ammonia

aqua ammonia

pH correcting chemicals including lime soda ash

sodium hydroxide

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

microbiological aspects of water quality

chloramination process theory

chlorine and ammonia dosing equipment

operational problems including nitrification

lockout procedures for mechanical and electrical installations

risk factors and potential hazards associated with chloramination processes

equipment operation, capacity and limitations

control and communications systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Some components of this unit require assessment in a workplace environment therefore the unit is not suitable for fully external or electronic based assessment.

Consideration must be given to holistic assessment for this unit. Refer to advice in the companion volumes.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037