# Assessment Requirements for NWPTRT055 Operate chlorine dioxide processes

Release: 1

Assessment Requirements for NWPTRT055 Operate chlorine dioxide processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

applying policies, regulatory standards and standard operating procedures

giving and receiving instructions

performing chlorine dioxide calculations

identifying control system faults and operational problems

identifying hazards

conducting microbiological and chlorine dioxide residual sampling

using literacy skills in regard to verbal and written communication in the workplace

interpreting material safety data sheets (SDS)

scheduling work

selecting and using appropriate tools and equipment, including personal protective equipment

monitoring chlorine dioxide disinfection processes

collecting process samples and performing standard tests

collecting and reporting process data, including at least one of:

pH

chlorine dioxide residuals

preparing and applying chemical dosing, including at least one of:

pH adjustment (lime, soda ash or caustic)

generation of chlorine dioxide (sodium chlorite, hydrochloric acid, sodium hypochlorite and/or liquefied chlorine)

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

properties and chemistry of chlorine dioxide

pH

microbiological water quality guidelines

chlorine dioxide system layout

lockout procedures for mechanical and electrical installations

policies, standard operating procedures and legislation

communication systems

hazardous substances handling

risk factors and potential hazards associated with chlorine dioxide

work-related chlorine dioxide calculations

chlorine dioxide dosing processes

chlorine dioxide generation equipment operation, capacity and limitations

effects of weather and conditions on operation of site or plant

pumping and valving systems

automatic feed rate control systems

SDS

understanding of the risk management principles of ADWG and/or AGWR

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Some components of this unit require assessment in a workplace environment therefore the unit is not suitable for fully external or electronic based assessment.

Consideration must be given to holistic assessment for this unit. Refer to advice in the companion volumes.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037