# Assessment Requirements for NWPTRT056 Operate and control ozone processes

Release: 1

Assessment Requirements for NWPTRT056 Operate and control ozone processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

applying policies, regulatory standards and standard operating procedures

performing work-related ozone calculations

identifying control system faults and operational problems

identifying hazards

using literacy skills regarding verbal and written communication in the workplace

interpreting safety data sheets (SDS)

scheduling work

selecting and using appropriate tools and equipment, including personal protective equipment

monitoring ozone treatment processes

collecting process samples and performing standard tests, including at least one of:

ozone residual sampling

ozone residuals

exhaust gas ozone concentration

pH

ozone residual level in water supply

preparing and applying ozone dosing safely

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

properties and chemistry of ozone

pH

microbiological water quality guidelines

ozone system layout

lockout procedures for mechanical and electrical installations

communication systems

hazardous substances handling

risk factors and potential hazards associated with ozonation

ozone dosing processes

operation, capacity and limitations of ozone generation equipment

effects of weather and conditions on operation of site or plant

pumping and valving systems

automatic feed rate control systems

MSDS

ADWG risk management principles

WHS requirements

ozone calculation

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Some components of this unit require assessment in a workplace environment therefore the unit is not suitable for fully external or electronic based assessment.

Consideration must be given to holistic assessment for this unit. Refer to advice in the companion volumes.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037