# Assessment Requirements for NWPTRT061 Operate and control wastewater processes

Release: 1

Assessment Requirements for NWPTRT061 Operate and control wastewater processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed in at least one of the processes listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

conducting routine plant inspections

interpreting safety data sheets (SDS)

applying basic mathematical formulae

completing logs

determining chemical dosing requirements

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

sources of wastewater

water cycle

basic hydraulics and organic loading in wastewater plants

basic chemistry and microbiology

types of components

relevant technologies

weather influence on wastewater plants

odour control

physical, chemical and microbiological characteristics and operating principles relating to wastewater treatment

reasons for wastewater treatment

types of wastewater treatment plant processes

major chemicals and equipment used

risk factors and potential hazards relating to wastewater treatment

chemical and biological principles that form the basis of wastewater treatment

chemical dosing processes

relevant guidelines and standards

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037