# NWPTRT061 Operate and control wastewater processes

Release: 1

NWPTRT061 Operate and control wastewater processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. New unit Created drawing upon information from deleted units NWP262A, NWP263A and NWP346B |

# Application

This unit of competency describes the skills required to operate and control a wastewater treatment plant and report on system performance and process quality control. The ability to operate wastewater treatment processes to ensure that wastewater disposal or re use meets state or territory licensing requirements is essential to performance.

This unit applies to those working as operational staff in wastewater treatment plants with responsibility for the practical and safe operation of plant, equipment and processes.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those relating to WHS.

Those undertaking this unit would work under supervision, performing routine tasks within a familiar context.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Treatment

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare for work | 1.1 Determine work requirements from work specifications and plans. 1.2 Select and check equipment required to meet safety requirements of task and site. 1.3 Select, fit and use safety equipment including personal protective equipment. |
| 2. Operate and control processes | 2.1 Carry out routine plant inspections according to the type of plant. 2.2 Identify and report process faults and the operational condition of the plant. 2.3 Collect samples and conduct standard tests. 2.4 Carry out basic adjustments to improve process performance. |
| 3. Complete documentation | 3.1 Collect, record and complete process data. 3.2 Identify data that falls outside normal parameters and report for further action. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Range of Conditions

| Current processes include: | primary processes: screening grit removal primary sedimentation odour control secondary processes: activated sludge nutrient removal trickling filters lagoons tertiary processes: lagoons clarification membrane filters granular filters disinfection solids management: aerobic/anaerobic dewatering gas management thickening |
| --- | --- |

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037