# Assessment Requirements for NWPTRT062 Operate and control reclaimed water irrigation

Release: 1

Assessment Requirements for NWPTRT062 Operate and control reclaimed water irrigation

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP National Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

monitoring and managing soil

solving operational problems

accessing, interpreting and applying relevant legislation

apply environmental policies, plans and procedures

assessing environmental risks at the work site

identifying soil groups

using safety and personal protective equipment

sampling and testing soil and water

monitoring, operating and controlling reclaimed water irrigation

analysing critical aspects of reclaimed water reuse management relating to the project or site

implementing reclaimed water reuse irrigation

identifying environment, health and safety risks and impact on soil, stock and operators

applying environmental procedures

participating in and contributing to reviews of reclaimed water reuse procedures

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

key principles of irrigation practices, including irrigation scheduling

key characteristics of reclaimed water

relevant legislative requirements

standard operating procedures

primary agencies involved in drinking water quality management

water quality performance indicators

an overview of the water supply system

water hazardous agents and preventative strategies

community and agency roles and responsibilities in monitoring water quality

best management practices for the use of reclaimed water for irrigation purposes

reclaimed water usage licensing procedures and requirements

environmental, landscape and ground structure of work area

equipment operation, capacity and limitations

effects of weather and conditions on operation of site or plant

interpretation and use of material safety data sheets

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037