# Assessment Requirements for NWPTRT063 Assess and improve membrane filters

Release: 1

Assessment Requirements for NWPTRT063 Assess and improve membrane filters

# Modification History

Release 1. This is the first release of this unit of competency in the NWP - National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and include:

analysing and evaluating reports and reference materials analysing problems and recommending appropriate remedial solutions assessing effectiveness of treatment chemicals by conducting a range of tests assessing fault reports and investigating the current operational status of plant components conducting investigations and reporting on operational and control system problems identifying and responding to risks and hazards identifying data and planning additional data collection through appropriate sampling and testing identifying opportunities for improved water treatment interpreting a range of complex and technical documents including at least one of the following: codes of practice national and industry standards organisational policies regulatory, legislative, licensing and organisational requirements specifications operating a membrane process using at least one of the following: microfiltration nanofiltration ultrafiltration planning trials to test the performance of the determined optimisation options and compiling recommendation reports reviewing existing process performance with reference to historical or seasonal data, differences in raw water quality and plant configuration

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

factors affecting the selection of chemicals in membrane filtration processes impacts of incorrect dosing membrane filtration concepts membrane filtration system layout membrane plant and equipment preservation of membranes range and characteristics of operational performance measures range of appropriate measuring and testing procedures relevant legislation, industry standards and workplace policies and procedures risk and hazard management principles safety data sheets, site manifests and dangerous goods handling workplace reporting requirements

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037