# Assessment Requirements for NWPTRT071 Operate and control pre-treatment processes

Release: 1

Assessment Requirements for NWPTRT071 Operate and control pre-treatment processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

performing calculations including ratios

reading and applying procedures and standards

giving and receiving instructions

identifying control system faults and operational problems

using verbal and written communication in the workplace

monitoring, operating and reporting on wastewater pre-treatment processes, including at least one of:

screening

gravity and aerated grit chambers

gross pollution traps

removal and disposal of screenings

shredding

odour removal

oily water separators

riffle plate separators

planning and preparing for work

collecting and labelling samples and performing tests including, at least one of:

settling tests

pH

dissolved oxygen

suspended solids

chemical oxygen demand

inspecting plant and monitoring processes

collecting and recording data

operating and adjusting processes, including at least one of:

pH correction

dissolved oxygen levels

flow control

screen rotation frequency

solids removal

chemical additions

plant performance data

chemical usage

recording all required information

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

principles of and need for effective pre-treatment

system layout

policies, procedures and legislation applied to wastewater pre-treatment processes

relevant utilities and service bodies

communication systems

work-related calculations

risk factors and potential hazards relating to wastewater treatment

equipment operation, capacity and limitations

pumping and valving systems

control systems

impacts of hydraulic loads on processes

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Some components of this unit require assessment in a workplace environment therefore the unit is not suitable for fully external or electronic based assessment.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037