# NWPTRT071 Operate and control pre-treatment processes

Release: 1

NWPTRT071 Operate and control pre-treatment processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP264B Monitor, operate and report wastewater pre-treatment processes. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes Element 4 reworded PC 3.2 revised PC 4.1 removed PC 4.2 reworded |

# Application

This unit describes the skills required to monitor, operate and report on wastewater pre-treatment processes, including separation processes such as screens and grit removal, used in industrial or domestic wastewater treatment plants prior to biological treatments.

This unit applies to those working as operational staff with specific responsibility for pre-treatment processes.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those relating to environment, safety, and manufacturers’ guidelines.

Those undertaking this unit would work under supervision while performing routine tasks in a range of familiar contexts.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Treatment

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare for work | 1.1 Determine work requirements as outlined in standard operating procedures. 1.2 Identify and report potential risks to self, other employees, public and environment. 1.3 Select and check work site equipment, tools and safety materials as appropriate to meet task and safety specifications. 1.4 Select, fit and use personal protective equipment. |
| 2. Monitor pre-treatment processes | 2.1 Carry out routine plant inspections. 2.2 Monitor processes to maintain parameters of operation. 2.3 Collect process samples and conduct standard tests. 2.4 Collect, record and report process data. 2.5 Identify and report process faults and operational condition of plant. |
| 3. Operate pre-treatment processes | 3.1 Operate pre-treatment processes. 3.2 Carry out basic adjustments to enhance system performance. 3.3 Determine chemical dosing requirements |
| 4. Complete documentation | 4.1 Collect and record process data 4.2 Report observations outside defined parameters for further action. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP264B Monitor, operate and report wastewater pre-treatment processes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPTRT071 Operate and control pre-treatment processes

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

performing calculations including ratios

reading and applying procedures and standards

giving and receiving instructions

identifying control system faults and operational problems

using verbal and written communication in the workplace

monitoring, operating and reporting on wastewater pre-treatment processes, including at least one of:

screening

gravity and aerated grit chambers

gross pollution traps

removal and disposal of screenings

shredding

odour removal

oily water separators

riffle plate separators

planning and preparing for work

collecting and labelling samples and performing tests including, at least one of:

settling tests

pH

dissolved oxygen

suspended solids

chemical oxygen demand

inspecting plant and monitoring processes

collecting and recording data

operating and adjusting processes, including at least one of:

pH correction

dissolved oxygen levels

flow control

screen rotation frequency

solids removal

chemical additions

plant performance data

chemical usage

recording all required information

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

principles of and need for effective pre-treatment

system layout

policies, procedures and legislation applied to wastewater pre-treatment processes

relevant utilities and service bodies

communication systems

work-related calculations

risk factors and potential hazards relating to wastewater treatment

equipment operation, capacity and limitations

pumping and valving systems

control systems

impacts of hydraulic loads on processes

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Some components of this unit require assessment in a workplace environment therefore the unit is not suitable for fully external or electronic based assessment.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037